## Ref
AEO2019 Reference case - Peak Loads (gigawatts) | [7 empty] | ref2019.d111618a |  | ** total demand used for dispatch time slice demands includes demand that will be met by onsite PV in residential and commercial model
Values listed are generation requirements (i.e. include T&D losses) | [9 empty] | ** peak demand reflects this revised demand accounting used in the EMM
Summer | EMM region
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
2018 | 73.3441 | 43.5927 | 6.0291 | 34.7975 | 23.5544 | 10.7813 | 4.4562 | 14.3451 | 53.1494 | 19.2513 | 89.3364 | 29.7704 | 19.1089 | 43.0246 | 36.4789 | 57.0122 | 14.697 | 27.8772 | 29.6496 | 48.9304 | 38.0327 | 12.8298
2019 | 74.0406 | 43.4178 | 5.9242 | 34.3304 | 23.4293 | 10.5542 | 4.3517 | 14.049 | 52.3408 | 18.8641 | 87.93 | 30.0769 | 18.7479 | 43.1026 | 36.6454 | 56.9922 | 14.4877 | 28.127 | 29.9209 | 48.5332 | 38.0103 | 12.9361
2020 | 78.1463 | 46.3474 | 6.183 | 35.277 | 24.4394 | 11.4412 | 4.7427 | 15.0785 | 56.457 | 19.7236 | 92.5872 | 31.7829 | 19.3104 | 45.6478 | 38.8216 | 60.823 | 14.762 | 29.8928 | 31.6713 | 52.3598 | 40.8594 | 13.6466
2021 | 79.5256 | 46.8889 | 6.2214 | 35.6125 | 24.5505 | 11.4635 | 4.7548 | 15.1303 | 56.8895 | 19.8148 | 93.2569 | 32.3763 | 19.4402 | 46.2988 | 39.436 | 61.6541 | 14.8857 | 30.4498 | 32.4709 | 53.3132 | 41.8188 | 13.9857
2022 | 80.6029 | 47.3872 | 6.2593 | 35.9221 | 24.6215 | 11.4943 | 4.7712 | 15.1819 | 57.294 | 19.9142 | 93.8862 | 32.8339 | 19.5733 | 46.8459 | 39.9202 | 62.3852 | 15.0043 | 30.8671 | 33.1262 | 53.839 | 42.4831 | 14.2609
2023 | 81.2999 | 47.7425 | 6.3114 | 36.2401 | 24.8504 | 11.5047 | 4.785 | 15.2478 | 57.61 | 20.0575 | 94.6343 | 33.1154 | 19.7273 | 47.2284 | 40.2144 | 62.9047 | 15.133 | 31.1552 | 33.773 | 54.2279 | 43.0931 | 14.5393
2024 | 81.9344 | 48.0583 | 6.3473 | 36.5307 | 25.0204 | 11.4811 | 4.7842 | 15.2626 | 57.7874 | 20.1637 | 95.1809 | 33.4158 | 19.859 | 47.5993 | 40.5379 | 63.3762 | 15.2539 | 31.3984 | 34.3727 | 54.6079 | 43.6728 | 14.7998
2025 | 82.4478 | 48.3786 | 6.3829 | 36.8197 | 25.153 | 11.465 | 4.788 | 15.2986 | 58.0161 | 20.2626 | 95.7279 | 33.6732 | 19.9877 | 47.9687 | 40.8415 | 63.8557 | 15.3746 | 31.5918 | 34.9598 | 54.8867 | 44.1972 | 15.0547
2026 | 82.8324 | 48.7249 | 6.4327 | 37.1069 | 25.328 | 11.4508 | 4.7979 | 15.338 | 58.2536 | 20.3965 | 96.4261 | 33.842 | 20.1303 | 48.33 | 41.1271 | 64.349 | 15.4896 | 31.7564 | 35.5355 | 55.1487 | 44.6984 | 15.3018
2027 | 83.4516 | 49.1402 | 6.4662 | 37.3692 | 25.5352 | 11.4457 | 4.8124 | 15.4016 | 58.5865 | 20.4992 | 96.9962 | 34.1147 | 20.2524 | 48.7332 | 41.4143 | 64.9276 | 15.5979 | 32.0026 | 36.1599 | 55.4833 | 45.2392 | 15.5584
2028 | 84.1523 | 49.6027 | 6.5186 | 37.67 | 25.6896 | 11.4512 | 4.8314 | 15.4632 | 58.9276 | 20.6431 | 97.7571 | 34.4053 | 20.4051 | 49.1644 | 41.7271 | 65.5526 | 15.7196 | 32.287 | 36.8267 | 55.9825 | 45.8831 | 15.8311
2029 | 84.9847 | 50.1 | 6.5627 | 37.9464 | 25.8983 | 11.4688 | 4.8562 | 15.5503 | 59.3475 | 20.7776 | 98.4692 | 34.7473 | 20.5465 | 49.6121 | 42.0309 | 66.2196 | 15.8333 | 32.6218 | 37.5108 | 56.4414 | 46.4926 | 16.1086
2030 | 85.7408 | 50.5665 | 6.5921 | 38.14 | 26.0765 | 11.4692 | 4.8757 | 15.6071 | 59.6723 | 20.8734 | 98.9817 | 35.0502 | 20.6471 | 49.989 | 42.2879 | 66.8115 | 15.914 | 32.935 | 38.1653 | 56.8487 | 47.0631 | 16.366
2031 | 86.6516 | 51.0677 | 6.6237 | 38.3688 | 26.3218 | 11.4761 | 4.8987 | 15.6739 | 60.0741 | 20.9742 | 99.5345 | 35.4143 | 20.7612 | 50.4114 | 42.5818 | 67.4575 | 16.0083 | 33.2996 | 38.8326 | 57.2847 | 47.655 | 16.6298
2032 | 87.4983 | 51.5738 | 6.6598 | 38.5866 | 26.5303 | 11.4639 | 4.9127 | 15.7182 | 60.4255 | 21.092 | 100.1292 | 35.7272 | 20.8793 | 50.821 | 42.8649 | 68.0919 | 16.0996 | 33.6377 | 39.4784 | 57.7622 | 48.2535 | 16.8849
2033 | 88.4489 | 52.0892 | 6.6863 | 38.8107 | 26.7721 | 11.4636 | 4.932 | 15.7744 | 60.806 | 21.19 | 100.6278 | 36.0982 | 20.9914 | 51.226 | 43.1381 | 68.7266 | 16.195 | 34.0116 | 40.1497 | 58.2784 | 48.8821 | 17.1512
2034 | 89.4199 | 52.6506 | 6.7332 | 39.0946 | 27.0187 | 11.4739 | 4.9558 | 15.8361 | 61.2185 | 21.3304 | 101.3392 | 36.4479 | 21.1415 | 51.6572 | 43.4288 | 69.4082 | 16.3108 | 34.4027 | 40.8849 | 58.9336 | 49.617 | 17.4423
2035 | 90.4383 | 53.2536 | 6.7764 | 39.3735 | 27.2503 | 11.4874 | 4.9812 | 15.9125 | 61.6808 | 21.4731 | 102.0571 | 36.8287 | 21.2891 | 52.1366 | 43.7584 | 70.1525 | 16.4266 | 34.81 | 41.6434 | 59.5776 | 50.37 | 17.7462
2036 | 91.5356 | 53.8763 | 6.8111 | 39.6701 | 27.4674 | 11.5103 | 5.0123 | 16.0359 | 62.2112 | 21.6018 | 102.7192 | 37.2706 | 21.4354 | 52.6479 | 44.124 | 70.9285 | 16.5506 | 35.2416 | 42.4457 | 60.1752 | 51.1859 | 18.0773
2037 | 92.5717 | 54.5148 | 6.8739 | 40.0178 | 27.767 | 11.5362 | 5.0441 | 16.1554 | 62.7318 | 21.7923 | 103.6662 | 37.6624 | 21.6232 | 53.1683 | 44.5062 | 71.7179 | 16.6903 | 35.6612 | 43.2587 | 60.833 | 52.0401 | 18.4135
2038 | 93.6552 | 55.1911 | 6.9205 | 40.3588 | 28.0794 | 11.5708 | 5.0761 | 16.2762 | 63.2795 | 21.945 | 104.4596 | 38.0964 | 21.795 | 53.7278 | 44.9121 | 72.562 | 16.8307 | 36.0953 | 44.1081 | 61.5427 | 52.9383 | 18.7656
2039 | 94.764 | 55.8883 | 6.9724 | 40.6953 | 28.4062 | 11.6262 | 5.1151 | 16.4176 | 63.8766 | 22.1189 | 105.3304 | 38.5252 | 21.973 | 54.2691 | 45.2605 | 73.4195 | 16.9692 | 36.5679 | 44.9418 | 62.3236 | 53.8601 | 19.1097
2040 | 96.0033 | 56.5803 | 7.0184 | 40.9914 | 28.7209 | 11.6815 | 5.1556 | 16.5659 | 64.4836 | 22.2808 | 106.181 | 39.0038 | 22.1325 | 54.7867 | 45.5706 | 74.2643 | 17.0918 | 37.1018 | 45.7858 | 63.0862 | 54.7734 | 19.4559
2041 | 97.1654 | 57.3095 | 7.0616 | 41.3219 | 29.0563 | 11.7224 | 5.1884 | 16.6985 | 65.0488 | 22.4284 | 106.9786 | 39.4495 | 22.3 | 55.3316 | 45.889 | 75.1582 | 17.2293 | 37.6055 | 46.6249 | 63.8706 | 55.688 | 19.8027
2042 | 98.3625 | 58.0519 | 7.1125 | 41.683 | 29.3842 | 11.7753 | 5.227 | 16.8741 | 65.6778 | 22.5988 | 107.8806 | 39.8957 | 22.4845 | 55.9007 | 46.2491 | 76.0699 | 17.3782 | 38.135 | 47.5119 | 64.6555 | 56.6221 | 20.1692
2043 | 99.7242 | 58.8244 | 7.1617 | 42.0301 | 29.7191 | 11.8245 | 5.2635 | 17.0393 | 66.2936 | 22.7698 | 108.767 | 40.4036 | 22.6669 | 56.4923 | 46.6528 | 77.0058 | 17.5254 | 38.6937 | 48.4155 | 65.4869 | 57.5771 | 20.542
2044 | 101.1167 | 59.6186 | 7.2162 | 42.4356 | 30.0315 | 11.8716 | 5.2984 | 17.1949 | 66.8999 | 22.9555 | 109.7148 | 40.9211 | 22.864 | 57.1219 | 47.099 | 77.9797 | 17.6834 | 39.2575 | 49.3583 | 66.4078 | 58.5992 | 20.9319
2045 | 102.5001 | 60.4412 | 7.2756 | 42.8554 | 30.3829 | 11.9386 | 5.3422 | 17.3824 | 67.5972 | 23.148 | 110.7154 | 41.4244 | 23.0706 | 57.7648 | 47.5305 | 78.9905 | 17.8481 | 39.8197 | 50.2684 | 67.3457 | 59.5955 | 21.3093
2046 | 103.9792 | 61.2976 | 7.3362 | 43.2584 | 30.7568 | 12.021 | 5.3915 | 17.5838 | 68.34 | 23.3509 | 111.7611 | 41.971 | 23.2762 | 58.4383 | 47.9766 | 80.0496 | 18.0092 | 40.4178 | 51.2015 | 68.3232 | 60.6214 | 21.6966
2047 | 105.4122 | 62.1627 | 7.4009 | 43.6991 | 31.159 | 12.1043 | 5.4395 | 17.7759 | 69.0812 | 23.5661 | 112.8426 | 42.4912 | 23.4992 | 59.0992 | 48.3815 | 81.1149 | 18.1852 | 40.9991 | 52.1401 | 69.342 | 61.6592 | 22.0871
2048 | 106.7906 | 63.047 | 7.4666 | 44.1547 | 31.5687 | 12.2051 | 5.495 | 17.9932 | 69.885 | 23.7851 | 113.9536 | 42.9912 | 23.7291 | 59.7804 | 48.8016 | 82.2082 | 18.3681 | 41.5602 | 53.1019 | 70.4272 | 62.7406 | 22.4882
2049 | 108.2447 | 63.9624 | 7.5301 | 44.6058 | 31.9484 | 12.3106 | 5.5511 | 18.2069 | 70.6956 | 23.9966 | 115.0312 | 43.5167 | 23.9586 | 60.4818 | 49.2553 | 83.3286 | 18.554 | 42.1531 | 54.0471 | 71.5242 | 63.8041 | 22.8821
2050 | 109.8015 | 64.9311 | 7.6006 | 45.0996 | 32.3721 | 12.4193 | 5.6073 | 18.4177 | 71.5387 | 24.2328 | 116.2155 | 44.0793 | 24.2095 | 61.2286 | 49.7378 | 84.5199 | 18.7552 | 42.7906 | 55.0425 | 72.6918 | 64.9237 | 23.2974
Winter | EMM region
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
2018 | 54.3031 | 38.1799 | 5.1575 | 30.3556 | 20.065 | 7.6953 | 3.1494 | 12.9643 | 43.6499 | 14.7949 | 78.8252 | 24.717 | 16.8469 | 38.148 | 33.9442 | 53.4323 | 10.5899 | 21.1828 | 18.3721 | 38.1724 | 41.4221 | 11.2492
2019 | 54.8188 | 38.0268 | 5.0678 | 29.9481 | 19.9584 | 7.5331 | 3.0755 | 12.6967 | 42.9859 | 14.4974 | 77.5843 | 24.9715 | 16.5287 | 38.2172 | 34.0991 | 53.4135 | 10.4391 | 21.3726 | 18.5402 | 37.8626 | 41.3977 | 11.3424
2020 | 54.7331 | 37.5077 | 5.0838 | 29.6832 | 19.7994 | 7.4945 | 3.04 | 12.5634 | 42.63 | 14.426 | 77.409 | 25.05 | 16.4136 | 38.0998 | 33.9107 | 52.6395 | 10.3514 | 21.3664 | 18.6947 | 38.1501 | 41.9956 | 11.494
2021 | 55.1353 | 37.4455 | 5.0875 | 29.8151 | 19.7585 | 7.4912 | 3.0163 | 12.4924 | 42.5137 | 14.3551 | 77.2524 | 25.3035 | 16.3889 | 38.2975 | 34.1515 | 52.9267 | 10.3846 | 21.5388 | 18.8227 | 38.4293 | 42.4659 | 11.6169
2022 | 55.6103 | 37.4766 | 5.104 | 29.9673 | 19.7283 | 7.4995 | 3.0027 | 12.4647 | 42.4708 | 14.3384 | 77.2988 | 25.5503 | 16.4099 | 38.4969 | 34.3498 | 53.1968 | 10.4298 | 21.7257 | 18.9267 | 38.4808 | 42.725 | 11.7132
2023 | 55.9698 | 37.5687 | 5.142 | 30.2035 | 19.8236 | 7.5027 | 3.002 | 12.4744 | 42.5124 | 14.3992 | 77.6933 | 25.7081 | 16.489 | 38.6932 | 34.4995 | 53.4373 | 10.5005 | 21.8729 | 19.0939 | 38.6299 | 43.0402 | 11.8587
2024 | 56.4431 | 37.6472 | 5.1682 | 30.4077 | 19.8892 | 7.4966 | 2.9972 | 12.4618 | 42.4883 | 14.4367 | 77.9456 | 25.9534 | 16.5536 | 38.8956 | 34.679 | 53.6511 | 10.5649 | 22.0726 | 19.2599 | 38.7741 | 43.3435 | 12.0034
2025 | 56.87 | 37.7299 | 5.1974 | 30.6377 | 19.947 | 7.4905 | 2.9933 | 12.4605 | 42.5002 | 14.4816 | 78.2459 | 26.181 | 16.6264 | 39.1009 | 34.8554 | 53.8626 | 10.6358 | 22.2547 | 19.4125 | 38.856 | 43.5868 | 12.1389
2026 | 57.1126 | 37.875 | 5.2383 | 30.8708 | 20.0393 | 7.4878 | 2.9923 | 12.4744 | 42.5743 | 14.5585 | 78.7189 | 26.2869 | 16.7336 | 39.3309 | 35.0253 | 54.1642 | 10.7049 | 22.3565 | 19.5709 | 38.9414 | 43.8235 | 12.2709
2027 | 57.5408 | 38.0574 | 5.2638 | 31.0729 | 20.148 | 7.4929 | 2.9953 | 12.5139 | 42.7752 | 14.6033 | 79.0415 | 26.4908 | 16.8229 | 39.5837 | 35.2023 | 54.5477 | 10.7653 | 22.5302 | 19.7312 | 39.0622 | 44.0761 | 12.4006
2028 | 57.9862 | 38.2812 | 5.3085 | 31.3555 | 20.2479 | 7.5025 | 2.9994 | 12.5459 | 42.9699 | 14.6956 | 79.5892 | 26.6865 | 16.9439 | 39.8596 | 35.3977 | 54.9676 | 10.8415 | 22.7083 | 19.9188 | 39.2972 | 44.4397 | 12.544
2029 | 58.4999 | 38.5187 | 5.3424 | 31.5918 | 20.361 | 7.522 | 3.0081 | 12.6032 | 43.2309 | 14.7651 | 80.0303 | 26.9144 | 17.0486 | 40.1385 | 35.5837 | 55.4039 | 10.9067 | 22.9108 | 20.1039 | 39.4831 | 44.7349 | 12.685
2030 | 58.9103 | 38.7023 | 5.3634 | 31.7593 | 20.4495 | 7.5227 | 3.0097 | 12.6252 | 43.383 | 14.8024 | 80.2735 | 27.0848 | 17.1249 | 40.3424 | 35.7124 | 55.7256 | 10.9517 | 23.067 | 20.2465 | 39.6285 | 44.9719 | 12.7974
2031 | 59.4041 | 38.9199 | 5.3887 | 31.9447 | 20.5739 | 7.5286 | 3.0134 | 12.6552 | 43.5642 | 14.8523 | 80.5868 | 27.3028 | 17.2112 | 40.6305 | 35.8792 | 56.1069 | 11.0024 | 23.2578 | 20.4037 | 39.7927 | 45.2368 | 12.9195
2032 | 59.8177 | 39.1328 | 5.415 | 32.1308 | 20.6992 | 7.533 | 3.0163 | 12.6846 | 43.7466 | 14.9049 | 80.9049 | 27.4653 | 17.2996 | 40.9047 | 36.0225 | 56.4761 | 11.0531 | 23.4124 | 20.5538 | 39.9846 | 45.5158 | 13.0388
2033 | 60.3464 | 39.3486 | 5.4329 | 32.3023 | 20.8286 | 7.5395 | 3.0199 | 12.713 | 43.9259 | 14.9406 | 81.1249 | 27.7116 | 17.3809 | 41.1755 | 36.1664 | 56.8401 | 11.1031 | 23.6159 | 20.7191 | 40.1957 | 45.8182 | 13.1665
2034 | 60.827 | 39.6067 | 5.4717 | 32.533 | 20.966 | 7.5522 | 3.0256 | 12.744 | 44.12 | 15.026 | 81.5984 | 27.9189 | 17.4968 | 41.4683 | 36.3266 | 57.2482 | 11.1708 | 23.7958 | 20.9126 | 40.4905 | 46.2125 | 13.3086
2035 | 61.3565 | 39.9028 | 5.5031 | 32.7601 | 21.0962 | 7.5708 | 3.0341 | 12.7929 | 44.3647 | 15.0965 | 82.0101 | 28.1553 | 17.6083 | 41.7903 | 36.5147 | 57.6942 | 11.2394 | 23.9972 | 21.1214 | 40.79 | 46.6188 | 13.4602
2036 | 62.0013 | 40.2305 | 5.5264 | 32.9804 | 21.232 | 7.5919 | 3.0444 | 12.8553 | 44.6488 | 15.1507 | 82.3472 | 28.4617 | 17.7154 | 42.1387 | 36.7352 | 58.1684 | 11.3094 | 24.2533 | 21.3366 | 41.077 | 47.0151 | 13.6152
2037 | 62.4908 | 40.5589 | 5.5738 | 33.2604 | 21.3739 | 7.6133 | 3.054 | 12.907 | 44.9062 | 15.2626 | 82.9518 | 28.6826 | 17.8534 | 42.4837 | 36.9548 | 58.6376 | 11.392 | 24.4663 | 21.5631 | 41.4093 | 47.4662 | 13.7792
2038 | 63.0485 | 40.9157 | 5.6097 | 33.5177 | 21.523 | 7.6397 | 3.0658 | 12.9706 | 45.2019 | 15.3615 | 83.441 | 28.9461 | 17.9804 | 42.86 | 37.196 | 59.1549 | 11.4713 | 24.7056 | 21.8021 | 41.774 | 47.9495 | 13.9512
2039 | 63.611 | 41.2824 | 5.6463 | 33.7689 | 21.6791 | 7.6703 | 3.079 | 13.0355 | 45.504 | 15.4635 | 83.9316 | 29.1992 | 18.1079 | 43.2196 | 37.3966 | 59.6692 | 11.5487 | 24.9451 | 22.0393 | 42.1612 | 48.442 | 14.1218
2040 | 64.2367 | 41.6185 | 5.6763 | 33.9888 | 21.8456 | 7.6976 | 3.0916 | 13.1021 | 45.7991 | 15.5517 | 84.3345 | 29.4804 | 18.2222 | 43.544 | 37.5497 | 60.1356 | 11.616 | 25.2074 | 22.2587 | 42.5473 | 48.9158 | 14.283
2041 | 64.7851 | 41.9693 | 5.7078 | 34.2231 | 22.0037 | 7.7246 | 3.1033 | 13.161 | 46.0822 | 15.6419 | 84.7425 | 29.727 | 18.3426 | 43.8829 | 37.709 | 60.6266 | 11.6891 | 25.442 | 22.4846 | 42.9493 | 49.4088 | 14.4498
2042 | 65.2973 | 42.3326 | 5.7432 | 34.4823 | 22.1516 | 7.7523 | 3.1156 | 13.2271 | 46.3914 | 15.7399 | 85.2043 | 29.9479 | 18.4718 | 44.245 | 37.908 | 61.1365 | 11.7691 | 25.6619 | 22.7168 | 43.3531 | 49.9031 | 14.6209
2043 | 65.9282 | 42.7083 | 5.7767 | 34.7379 | 22.3085 | 7.78 | 3.127 | 13.2836 | 46.6835 | 15.8378 | 85.6302 | 30.2335 | 18.6028 | 44.6157 | 38.1275 | 61.6456 | 11.8497 | 25.9258 | 22.959 | 43.7829 | 50.4123 | 14.7972
2044 | 66.5918 | 43.0995 | 5.8147 | 35.0096 | 22.4732 | 7.8114 | 3.1396 | 13.3425 | 46.9862 | 15.9464 | 86.1749 | 30.5345 | 18.7418 | 45.0171 | 38.4172 | 62.1905 | 11.9344 | 26.2029 | 23.2144 | 44.2517 | 50.9662 | 14.9823
2045 | 67.2216 | 43.5058 | 5.8595 | 35.3018 | 22.6462 | 7.8507 | 3.1556 | 13.4194 | 47.3414 | 16.0694 | 86.8351 | 30.8143 | 18.8902 | 45.4298 | 38.7094 | 62.7584 | 12.025 | 26.4683 | 23.4715 | 44.7468 | 51.5403 | 15.1709
2046 | 67.9086 | 43.9178 | 5.9028 | 35.5935 | 22.8333 | 7.8976 | 3.1738 | 13.5017 | 47.7138 | 16.191 | 87.4867 | 31.1235 | 19.0382 | 45.858 | 39.0114 | 63.3455 | 12.1289 | 26.7549 | 23.7347 | 45.2742 | 52.149 | 15.366
2047 | 68.547 | 44.3425 | 5.9495 | 35.8994 | 23.038 | 7.9517 | 3.1945 | 13.5935 | 48.1173 | 16.3224 | 88.182 | 31.4051 | 19.1954 | 46.2829 | 39.2889 | 63.9427 | 12.2382 | 27.0237 | 24.0005 | 45.8259 | 52.7655 | 15.5642
2048 | 69.1518 | 44.777 | 5.9974 | 36.2169 | 23.2439 | 8.0106 | 3.2169 | 13.6918 | 48.5425 | 16.4576 | 88.8997 | 31.6722 | 19.3589 | 46.7255 | 39.585 | 64.5595 | 12.3519 | 27.2802 | 24.2658 | 46.3997 | 53.3967 | 15.7643
2049 | 69.7616 | 45.2186 | 6.0458 | 36.5436 | 23.4464 | 8.0742 | 3.2402 | 13.7885 | 48.9689 | 16.5963 | 89.6197 | 31.9376 | 19.5281 | 47.1713 | 39.8918 | 65.172 | 12.4704 | 27.5372 | 24.5278 | 47.0014 | 54.0358 | 15.9647
2050 | 70.3906 | 45.675 | 6.0966 | 36.8849 | 23.6565 | 8.1439 | 3.2658 | 13.8947 | 49.4266 | 16.7415 | 90.3776 | 32.2106 | 19.7062 | 47.6395 | 40.2171 | 65.8127 | 12.5947 | 27.8009 | 24.7978 | 47.6491 | 54.7155 | 16.1723