Global Journal of Engineering Science and Researches

POWER UPGRADING OF TRANSMISSION LINE BY COMBINING AC-DC TRANSMISSION

Kiran Soni*1, Dr. Dharmendra singh2 and Dr. sushil kumar3

*1M.Tech. Scholar, Dr. C.V. Raman University,Bilaspur

2Department of electrical & electronics engineering, Dr. C.V. Raman University,Bilaspur

3Principal PCEM,Raipur, Department of electrical & electronics engineering

ABSTRACT

Long extra high voltage (EHV) ac lines cannot be loaded to their thermal limits in order to keep sufficient margin against transient instability. With the scheme proposed in this paper it is possible to load these lines very close to their thermal limits. The conductors are allowed to carry usual ac along with dc superimposed on it.

The added dc power flow does not cause any transient instability. This paper gives the feasibility of converting a double circuit ac line into composite ac–dc power transmission line to get the advantages of parallel ac–dc transmission to improve stability and damping out oscillations. Simulation and experimental studies are carried out for the coordinated control as well as independent control of ac and dc power transmissions. No alterations of conductors, insulator strings, and towers of the original line are needed. Substantial gain in the load ability of the line is obtained. Master current controller senses ac current and regulates the dc current orders for converters online such that conductor current never exceeds its thermal limit.

Keywords: Flexible ac transmission system (FACTS) ,Extra high voltage (EHV)transmission, power system computer-aided design(PSCAD),Simultaneous ac-dc power transmission.