3TM software based on the 3-tau model for fitting to fast field cycling NMR dispersion data HH+HM model variants: suitable for systems with or without paramagnetic ions in the solid
To run the software properly, the runtime library from Matlab is needed. 3TM_v1.2_nl.exe will ask you to download the runtime library if you already have it or not on your computer, after which the software will be installed.  The runtime library is also possible to download with the file 3TM_v1.1_wl.exe, after which just make sure that you install the software version 1.2.
What's new in the version 1.2:
	•	Three "user manual" videos, the first one is related to the science of the 3 Tau Model, the second is related to the presentation of the interface and the final one is related to a fitting example
	•	 Two different data sets may be fit using the HH model (Expt-plaster.csv) and the HM model (Expt-mortar.csv). 

About the Software_3TM 1.2:
	•	Writing errors corrected
	•	"Ascending and Descending option" bug fixed
	•	Least Square Method with the "Sef File Only" option updated 
	•	Error bars related to the Sef file are printed after the fitting process has been done

Technical advice on the installation and interface:       remialbert.kogon2@unibo.it
Advice on the science, interpretation, etc:			d.faux@surrey.ac.uk

Open Source Available on Request
v1.2 released 16.12.2021

								*	*	*

Software_3TM Executable

1. Prerequisites for Deployment 

Verify that version 9.5 (R2018b) of the MATLAB Runtime is installed.   
If not, you can run the MATLAB Runtime installer.
To find its location, enter
  
    >>mcrinstaller
      
at the MATLAB prompt.
NOTE: You will need administrator rights to run the MATLAB Runtime installer. 

Alternatively, download and install the Windows version of the MATLAB Runtime for R2018b 
from the following link on the MathWorks website:

    http://www.mathworks.com/products/compiler/mcr/index.html
   
For more information about the MATLAB Runtime and the MATLAB Runtime installer, see 
"Distribute Applications" in the MATLAB Compiler documentation  
in the MathWorks Documentation Center.

2. Files to Deploy and Package

Files to Package for Standalone 
================================
-Software_3TM.exe
-MCRInstaller.exe 
    Note: if end users are unable to download the MATLAB Runtime using the
    instructions in the previous section, include it when building your 
    component by clicking the "Runtime included in package" link in the
    Deployment Tool.
-This readme file 

3. Definitions

For information on deployment terminology, go to
http://www.mathworks.com/help and select MATLAB Compiler >
Getting Started > About Application Deployment >
Deployment Product Terms in the MathWorks Documentation
Center.