## Sheet1
Hemacytometer calibration, new SPOT camera for IX70
no 1.5x muliplier
Linear distance | Known distance (um) | Pixels | Pixels/um | Volume ratio (square pixels to square microns)
20x | 600 | 1956 | 3.26 | 0.094095
10x | 1000 | 1633 | 1.633 | 0.375 | 1254.1335
4x | 1000 | 659.97 | 0.65997 | 2.2959