## 1_Rectangle_Shape_Building
BUILDING ENVELOPE - INSULATION
Building Typology	Location	Insulation Thickness	Glazing +Framing Types	Glazing	Frame	Shading	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	% Increase in Heating Energy Savings	Cooling Consumption (kWh/m2·year)
Rectangle Shape Building	Madrid	0 mm		6 mm	Aluminium	No	50.97	0		7.55
Rectangle Shape Building	Madrid	40 mm		6 mm	Aluminium	No	28.72	43.65	43.65%	5.80
Rectangle Shape Building	Madrid	80 mm		6 mm	Aluminium	No	22.52	55.82	12.16%	5.44
Rectangle Shape Building	Madrid	120 mm		6 mm	Aluminium	No	19.82	61.11	5.30%	5.31
Rectangle Shape Building	Madrid	160 mm		6 mm	Aluminium	No	18.30	64.10	2.98%	5.25
Rectangle Shape Building	Berlín	0 mm		6 mm	Aluminium	No	126.32	0		1.73
Rectangle Shape Building	Berlín	40 mm		6 mm	Aluminium	No	79.82	36.81	36.81%	1.34
Rectangle Shape Building	Berlín	80 mm		6 mm	Aluminium	No	67.41	46.64	9.82%	1.30
Rectangle Shape Building	Berlín	120 mm		6 mm	Aluminium	No	62.05	50.88	4.24%	1.29
Rectangle Shape Building	Berlín	160 mm		6 mm	Aluminium	No	59.11	53.21	2.33%	1.30
Rectangle Shape Building	Helsinki	0 mm		6 mm	Aluminium	No	188.86	0		0.27
Rectangle Shape Building	Helsinki	40 mm		6 mm	Aluminium	No	123.99	34.35	34.35%	0.17
Rectangle Shape Building	Helsinki	80 mm		6 mm	Aluminium	No	106.38	43.67	9.32%	0.17
Rectangle Shape Building	Helsinki	120 mm		6 mm	Aluminium	No	98.78	47.70	4.02%	0.18
Rectangle Shape Building	Helsinki	160 mm		6 mm	Aluminium	No	94.56	49.93	2.23%	0.18

BUILDING ENVELOPE - WINDOWS
Building Typology	Location	Insulation Thickness	Glazing +Framing Types	Glazing	Frame	Shading	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	% Increase in Heating Energy Savings	Cooling Consumption (kWh/m2·year)
Rectangle Shape Building	Madrid	0 mm		6 mm	Aluminium	No	50.97	-		7.55
Rectangle Shape Building	Madrid	0 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	45.86	10.03		7.18
Rectangle Shape Building	Madrid	40 mm		6 mm	Aluminium	No	28.72	-		5.80
Rectangle Shape Building	Madrid	40 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	23.49	18.21	8.18%	5.38
Rectangle Shape Building	Madrid	80 mm		6 mm	Aluminium	No	22.52	-		5.44
Rectangle Shape Building	Madrid	80 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	17.32	23.09	4.88%	5.01
Rectangle Shape Building	Madrid	120 mm		6 mm	Aluminium	No	19.82	-		5.31
Rectangle Shape Building	Madrid	120 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	14.66	26.03	2.94%	4.87
Rectangle Shape Building	Madrid	160 mm		6 mm	Aluminium	No	18.30	-		5.25
Rectangle Shape Building	Madrid	160 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	13.18	27.98	1.94%	4.80
Rectangle Shape Building	Berlín	0 mm		6 mm	Aluminium	No	126.32	-		1.73
Rectangle Shape Building	Berlín	0 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	114.29	9.52		1.63
Rectangle Shape Building	Berlín	40 mm		6 mm	Aluminium	No	79.82	-		1.34
Rectangle Shape Building	Berlín	40 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	66.99	16.07	6.55%	1.24
Rectangle Shape Building	Berlín	80 mm		6 mm	Aluminium	No	67.41	-		1.30
Rectangle Shape Building	Berlín	80 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	54.25	19.52	3.45%	1.20
Rectangle Shape Building	Berlín	120 mm		6 mm	Aluminium	No	62.05	-		1.29
Rectangle Shape Building	Berlín	120 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	48.69	21.53	2.01%	1.21
Rectangle Shape Building	Berlín	160 mm		6 mm	Aluminium	No	59.11	-		1.30
Rectangle Shape Building	Berlín	160 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	45.58	22.89	1.36%	1.22
Rectangle Shape Building	Helsinki	0 mm		6 mm	Aluminium	No	188.86	-		0.27
Rectangle Shape Building	Helsinki	0 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	173.20	8.29		0.24
Rectangle Shape Building	Helsinki	40 mm		6 mm	Aluminium	No	123.99	-		0.17
Rectangle Shape Building	Helsinki	40 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	107.38	13.40	5.10%	0.14
Rectangle Shape Building	Helsinki	80 mm		6 mm	Aluminium	No	106.38	-		0.17
Rectangle Shape Building	Helsinki	80 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	89.34	16.02	2.62%	0.14
Rectangle Shape Building	Helsinki	120 mm		6 mm	Aluminium	No	98.78	-		0.18
Rectangle Shape Building	Helsinki	120 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	81.50	17.49	1.48%	0.15
Rectangle Shape Building	Helsinki	160 mm		6 mm	Aluminium	No	94.56	-		0.18
Rectangle Shape Building	Helsinki	160 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	77.08	18.49	0.99%	0.16

BUILDING ENVELOPE - INSULATION + WINDOWS
Building Typology	Location	Insulation Thickness	Glazing +Framing Types	Glazing	Frame	Shading	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	% Increase in Heating Energy Savings	Cooling Consumption (kWh/m2·year)
Rectangle Shape Building	Madrid	0 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	45.86			7.18
Rectangle Shape Building	Madrid	40 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	23.49	48.78	48.78%	5.38
Rectangle Shape Building	Madrid	80 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	17.32	62.23	13.45%	5.01
Rectangle Shape Building	Madrid	120 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	14.66	68.03	5.80%	4.87
Rectangle Shape Building	Madrid	160 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	13.18	71.26	3.23%	4.80
Rectangle Shape Building	Berlín	0 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	114.29			1.63
Rectangle Shape Building	Berlín	40 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	66.99	41.39	41.39%	1.24
Rectangle Shape Building	Berlín	80 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	54.25	52.53	11.15%	1.20
Rectangle Shape Building	Berlín	120 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	48.69	57.40	4.86%	1.21
Rectangle Shape Building	Berlín	160 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	45.58	60.12	2.72%	1.22
Rectangle Shape Building	Helsinki	0 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	173.20			0.24
Rectangle Shape Building	Helsinki	40 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	107.38	38.00	38.00%	0.14
Rectangle Shape Building	Helsinki	80 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	89.34	48.42	10.42%	0.14
Rectangle Shape Building	Helsinki	120 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	81.50	52.94	4.53%	0.15
Rectangle Shape Building	Helsinki	160 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	77.08	55.50	2.55%	0.16

SHADING SYSTEMS
Building Typology	Location	Insulation Thickness	Glazing +Framing Types	Glazing	Frame	Shading	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	% Increase in Heating Energy Savings	Cooling Consumption (kWh/m2·year)
Rectangle Shape Building	Madrid	0 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	No	50.97			7.55
Rectangle Shape Building	Madrid	0 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	Yes	48.43	4.98		6.85
Rectangle Shape Building	Madrid	0 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	45.86			7.18
Rectangle Shape Building	Madrid	0 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	Yes	44.81	2.29		6.52
Rectangle Shape Building	Madrid	40 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	No	28.72			5.80
Rectangle Shape Building	Madrid	40 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	Yes	26.21	8.74	3.76%	5.04
Rectangle Shape Building	Madrid	40 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	23.49			5.38
Rectangle Shape Building	Madrid	40 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	Yes	22.47	4.34	2.05%	4.67
Rectangle Shape Building	Madrid	80 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	No	22.52			5.44
Rectangle Shape Building	Madrid	80 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	Yes	20.06	10.92	2.18%	4.66
Rectangle Shape Building	Madrid	80 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	17.32			5.01
Rectangle Shape Building	Madrid	80 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	Yes	16.34	5.66	1.32%	4.27
Rectangle Shape Building	Madrid	120 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	No	19.82			5.31
Rectangle Shape Building	Madrid	120 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	Yes	17.41	12.16	1.24%	4.51
Rectangle Shape Building	Madrid	120 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	14.66			4.87
Rectangle Shape Building	Madrid	120 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	Yes	13.73	6.34	0.69%	4.10
Rectangle Shape Building	Madrid	160 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	No	18.30			5.25
Rectangle Shape Building	Madrid	160 mm	Simple Glazing + Metal Frame	6 mm	Aluminium	Yes	15.93	12.95	0.79%	4.44
Rectangle Shape Building	Madrid	160 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	No	13.18			4.80
Rectangle Shape Building	Madrid	160 mm	Double Glazing + PVC Frame	4+16+6 mm	PVC	Yes	12.26	6.98	0.64%	4.03

## 2_Tower_Shape_Building
BUILDING ENVELOPE - INSULATION
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Tower Shape Building	Madrid	0 mm	6 mm	Aluminium	No		57.38	-	9.24	-
Tower Shape Building	Madrid	40 mm	6 mm	Aluminium	No		34.89	39.19	7.80	15.58
Tower Shape Building	Madrid	80 mm	6 mm	Aluminium	No		28.08	51.06	7.51	18.72
Tower Shape Building	Madrid	120 mm	6 mm	Aluminium	No		25.16	56.15	7.41	19.81
Tower Shape Building	Madrid	160 mm	6 mm	Aluminium	No		23.52	59.01	7.30	21.00
Tower Shape Building	Berlín	0 mm	6 mm	Aluminium	No		134.08	-	2.10	-
Tower Shape Building	Berlín	40 mm	6 mm	Aluminium	No		90.35	32.61	1.81	13.81
Tower Shape Building	Berlín	80 mm	6 mm	Aluminium	No		77.70	42.05	1.79	14.76
Tower Shape Building	Berlín	120 mm	6 mm	Aluminium	No		72.37	46.02	1.79	14.76
Tower Shape Building	Berlín	160 mm	6 mm	Aluminium	No		69.24	48.36	1.77	15.71
Tower Shape Building	Helsinki	0 mm	6 mm	Aluminium	No		199.94	-	0.34	-
Tower Shape Building	Helsinki	40 mm	6 mm	Aluminium	No		138.87	30.54	0.29	14.71
Tower Shape Building	Helsinki	80 mm	6 mm	Aluminium	No		121.04	39.46	0.29	14.71
Tower Shape Building	Helsinki	120 mm	6 mm	Aluminium	No		113.52	43.22	0.30	11.76
Tower Shape Building	Helsinki	160 mm	6 mm	Aluminium	No		109.07	45.45	0.30	11.76

BUILDING ENVELOPE - WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Tower Shape Building	Madrid	0 mm	6 mm	Aluminium	No		57.38	-	9.24	-
Tower Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	51.88	9.59	8.74	5.41
Tower Shape Building	Madrid	40 mm	6 mm	Aluminium	No		34.89	-	7.80	-
Tower Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	29.19	16.34	7.24	7.18
Tower Shape Building	Madrid	80 mm	6 mm	Aluminium	No		28.08	-	7.51	-
Tower Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	22.33	20.48	6.92	7.86
Tower Shape Building	Madrid	120 mm	6 mm	Aluminium	No		25.16	-	7.41	-
Tower Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	19.39	22.93	6.81	8.10
Tower Shape Building	Madrid	160 mm	6 mm	Aluminium	No		23.52	-	7.30	-
Tower Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	17.82	24.23	6.69	8.36
Tower Shape Building	Berlín	0 mm	6 mm	Aluminium	No		134.08	-	2.10	-
Tower Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	120.89	9.84	1.97	6.19
Tower Shape Building	Berlín	40 mm	6 mm	Aluminium	No		90.35	-	1.81	-
Tower Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	76.30	15.55	1.68	7.18
Tower Shape Building	Berlín	80 mm	6 mm	Aluminium	No		77.70	-	1.79	-
Tower Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	63.22	18.64	1.66	7.26
Tower Shape Building	Berlín	120 mm	6 mm	Aluminium	No		72.37	-	1.79	-
Tower Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	57.62	20.38	1.68	6.15
Tower Shape Building	Berlín	160 mm	6 mm	Aluminium	No		69.24	-	1.77	-
Tower Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	54.47	21.33	1.67	5.65
Tower Shape Building	Helsinki	0 mm	6 mm	Aluminium	No		199.94	-	0.34	-
Tower Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	182.66	8.64	0.30	11.76
Tower Shape Building	Helsinki	40 mm	6 mm	Aluminium	No		138.87	-	0.29	-
Tower Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	120.56	13.18	0.24	17.24
Tower Shape Building	Helsinki	80 mm	6 mm	Aluminium	No		121.04	-	0.29	-
Tower Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	102.19	15.57	0.25	13.79
Tower Shape Building	Helsinki	120 mm	6 mm	Aluminium	No		113.52	-	0.30	-
Tower Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	94.33	16.90	0.26	13.33
Tower Shape Building	Helsinki	160 mm	6 mm	Aluminium	No		109.07	-	0.30	-
Tower Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	89.87	17.60	0.26	13.33

BUILDING ENVELOPE - INSULATION + WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Tower Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	51.88	-	8.74	-
Tower Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	29.19	43.74	7.24	17.16
Tower Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	22.33	56.96	6.92	20.82
Tower Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	19.39	62.63	6.81	22.08
Tower Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	17.82	65.65	6.69	23.46
Tower Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	120.89	-	1.97	-
Tower Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	76.30	36.88	1.68	14.72
Tower Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	63.22	47.70	1.66	15.74
Tower Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	57.62	52.34	1.68	14.72
Tower Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	54.47	54.94	1.67	15.23
Tower Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	182.66	-	0.30	-
Tower Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	120.56	34.00	0.24	20.00
Tower Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	102.19	44.05	0.25	16.67
Tower Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	94.33	48.36	0.26	13.33
Tower Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	89.87	50.80	0.26	13.33

SHADING SYSTEMS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Tower Shape Building	Madrid	0 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	57.38	-	9.24
Tower Shape Building	Madrid	0 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	54.67	4.72	7.73	16.34
Tower Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	51.88	-	8.74
Tower Shape Building	Madrid	0 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	50.79	2.10	7.29	16.59
Tower Shape Building	Madrid	40 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	34.89	-	7.80
Tower Shape Building	Madrid	40 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	32.18	7.77	6.16	21.03
Tower Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	29.19	-	7.24
Tower Shape Building	Madrid	40 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	28.12	3.67	5.67	21.69
Tower Shape Building	Madrid	80 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	28.08	-	7.51
Tower Shape Building	Madrid	80 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	25.40	9.54	5.78	23.04
Tower Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	22.33	-	6.92
Tower Shape Building	Madrid	80 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	21.28	4.70	5.28	23.70
Tower Shape Building	Madrid	120 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	25.16	-	7.41
Tower Shape Building	Madrid	120 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	22.49	10.61	5.64	23.89
Tower Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	19.39	-	6.81
Tower Shape Building	Madrid	120 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	18.36	5.31	5.13	24.67
Tower Shape Building	Madrid	160 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	23.52	-	7.30
Tower Shape Building	Madrid	160 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	20.90	11.14	5.52	24.38
Tower Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	17.82	-	6.69
Tower Shape Building	Madrid	160 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	16.82	5.61	5.00	25.26

## 3_L_Shape_Building
BUILDING ENVELOPE - INSULATION
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
L Shape Building	Madrid	0 mm	6 mm	Aluminium	No		46.72	-	9.25	-
L Shape Building	Madrid	40 mm	6 mm	Aluminium	No		28.82	38.31	7.76	16.11
L Shape Building	Madrid	80 mm	6 mm	Aluminium	No		23.83	48.99	7.45	19.46
L Shape Building	Madrid	120 mm	6 mm	Aluminium	No		21.65	53.66	7.30	21.08
L Shape Building	Madrid	160 mm	6 mm	Aluminium	No		20.43	56.27	7.26	21.51
L Shape Building	Berlín	0 mm	6 mm	Aluminium	No		112.96	-	2.17	-
L Shape Building	Berlín	40 mm	6 mm	Aluminium	No		76.47	32.30	1.91	11.98
L Shape Building	Berlín	80 mm	6 mm	Aluminium	No		66.73	40.93	1.89	12.90
L Shape Building	Berlín	120 mm	6 mm	Aluminium	No		62.45	44.71	1.88	13.36
L Shape Building	Berlín	160 mm	6 mm	Aluminium	No		60.09	46.80	1.89	12.90
L Shape Building	Helsinki	0 mm	6 mm	Aluminium	No		169.56	-	0.39	-
L Shape Building	Helsinki	40 mm	6 mm	Aluminium	No		118.72	29.98	0.33	15.38
L Shape Building	Helsinki	80 mm	6 mm	Aluminium	No		104.94	38.11	0.34	12.82
L Shape Building	Helsinki	120 mm	6 mm	Aluminium	No		98.84	41.71	0.34	12.82
L Shape Building	Helsinki	160 mm	6 mm	Aluminium	No		95.48	43.69	0.35	10.26

BUILDING ENVELOPE - WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
L Shape Building	Madrid	0 mm	6 mm	Aluminium	No		46.72	-	9.25	-
L Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	40.88	12.50	8.77	5.19
L Shape Building	Madrid	40 mm	6 mm	Aluminium	No		28.82	-	7.76	-
L Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	22.93	20.44	7.24	6.70
L Shape Building	Madrid	80 mm	6 mm	Aluminium	No		23.83	-	7.45	-
L Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	18.01	24.42	6.90	7.38
L Shape Building	Madrid	120 mm	6 mm	Aluminium	No		21.65	-	7.30	-
L Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	15.91	26.51	6.76	7.40
L Shape Building	Madrid	160 mm	6 mm	Aluminium	No		20.43	-	7.26	-
L Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	14.72	27.95	6.71	7.58
L Shape Building	Berlín	0 mm	6 mm	Aluminium	No		112.96	-	2.17	-
L Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	99.48	11.93	2.05	5.53
L Shape Building	Berlín	40 mm	6 mm	Aluminium	No		76.47	-	1.91	-
L Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	62.38	18.43	1.81	5.24
L Shape Building	Berlín	80 mm	6 mm	Aluminium	No		66.73	-	1.89	-
L Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	52.44	21.41	1.80	4.76
L Shape Building	Berlín	120 mm	6 mm	Aluminium	No		62.45	-	1.88	-
L Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	48.08	23.01	1.80	4.26
L Shape Building	Berlín	160 mm	6 mm	Aluminium	No		60.09	-	1.89	-
L Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	45.61	24.10	1.82	3.70
L Shape Building	Helsinki	0 mm	6 mm	Aluminium	No		169.56	-	0.39	-
L Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	152.05	10.33	0.35	10.26
L Shape Building	Helsinki	40 mm	6 mm	Aluminium	No		118.72	-	0.33	-
L Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	100.45	15.39	0.30	9.09
L Shape Building	Helsinki	80 mm	6 mm	Aluminium	No		104.94	-	0.34	-
L Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	86.42	17.65	0.31	8.82
L Shape Building	Helsinki	120 mm	6 mm	Aluminium	No		98.84	-	0.34	-
L Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	80.26	18.80	0.31	8.82
L Shape Building	Helsinki	160 mm	6 mm	Aluminium	No		95.48	-	0.35	-
L Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	76.82	19.54	0.33	5.71

BUILDING ENVELOPE - INSULATION + WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
L Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	40.88	-	8.77	-
L Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	22.93	43.91	7.24	17.45
L Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	18.01	55.94	6.90	21.32
L Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	15.91	61.08	6.76	22.92
L Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	14.72	63.99	6.71	23.49
L Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	99.48	-	2.05	-
L Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	62.38	37.29	1.81	11.71
L Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	52.44	47.29	1.80	12.20
L Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	48.08	51.67	1.80	12.20
L Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	45.61	54.15	1.82	11.22
L Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	152.05	-	0.35	-
L Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	100.45	33.94	0.30	14.29
L Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	86.42	43.16	0.31	11.43
L Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	80.26	47.21	0.31	11.43
L Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	76.82	49.48	0.33	5.71

SHADING SYSTEMS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
L Shape Building	Madrid	0 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	46.72	-	9.25
L Shape Building	Madrid	0 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	43.94	5.95	7.72	16.54
L Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	40.88	-	8.77
L Shape Building	Madrid	0 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	39.73	2.81	7.27	17.10
L Shape Building	Madrid	40 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	28.82	-	7.76
L Shape Building	Madrid	40 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	26.10	9.44	6.14	20.88
L Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	22.93	-	7.24
L Shape Building	Madrid	40 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	21.83	4.80	5.65	21.96
L Shape Building	Madrid	80 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	23.83	-	7.45
L Shape Building	Madrid	80 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	21.19	11.08	5.78	22.42
L Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	18.01	-	6.90
L Shape Building	Madrid	80 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	16.96	5.83	5.28	23.48
L Shape Building	Madrid	120 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	21.65	-	7.30
L Shape Building	Madrid	120 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	19.06	11.96	5.62	23.01
L Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	15.91	-	6.76
L Shape Building	Madrid	120 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	14.90	6.35	5.11	24.41
L Shape Building	Madrid	160 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	20.43	-	7.26
L Shape Building	Madrid	160 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	17.86	12.58	5.56	23.42
L Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	14.72	-	6.71
L Shape Building	Madrid	160 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	13.73	6.73	5.05	24.74

## 4_C_Shape_Building
BUILDING ENVELOPE - INSULATION
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
C Shape Building	Madrid	0 mm	6 mm	Aluminium	No		40.73	-	7.35	-
C Shape Building	Madrid	40 mm	6 mm	Aluminium	No		25.30	37.88	6.19	15.78
C Shape Building	Madrid	80 mm	6 mm	Aluminium	No		20.97	48.51	5.94	19.18
C Shape Building	Madrid	120 mm	6 mm	Aluminium	No		19.09	53.13	5.83	20.68
C Shape Building	Madrid	160 mm	6 mm	Aluminium	No		18.04	55.71	5.78	21.36
C Shape Building	Berlín	0 mm	6 mm	Aluminium	No		101.09	-	1.69	-
C Shape Building	Berlín	40 mm	6 mm	Aluminium	No		69.43	31.32	1.48	12.43
C Shape Building	Berlín	80 mm	6 mm	Aluminium	No		60.92	39.74	1.46	13.61
C Shape Building	Berlín	120 mm	6 mm	Aluminium	No		57.20	43.42	1.45	14.20
C Shape Building	Berlín	160 mm	6 mm	Aluminium	No		55.13	45.46	1.46	13.61
C Shape Building	Helsinki	0 mm	6 mm	Aluminium	No		152.96	-	0.26	-
C Shape Building	Helsinki	40 mm	6 mm	Aluminium	No		108.72	28.92	0.22	15.38
C Shape Building	Helsinki	80 mm	6 mm	Aluminium	No		96.66	36.81	0.22	15.38
C Shape Building	Helsinki	120 mm	6 mm	Aluminium	No		91.34	40.29	0.22	15.38
C Shape Building	Helsinki	160 mm	6 mm	Aluminium	No		88.41	42.20	0.23	11.54

BUILDING ENVELOPE - WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
C Shape Building	Madrid	0 mm	6 mm	Aluminium	No		40.73	-	7.35	-
C Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	35.44	12.99	6.97	5.17
C Shape Building	Madrid	40 mm	6 mm	Aluminium	No		25.30	-	6.19	-
C Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	19.98	21.03	5.78	6.62
C Shape Building	Madrid	80 mm	6 mm	Aluminium	No		20.97	-	5.94	-
C Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	15.73	24.99	5.53	6.90
C Shape Building	Madrid	120 mm	6 mm	Aluminium	No		19.09	-	5.83	-
C Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	13.92	27.08	5.41	7.20
C Shape Building	Madrid	160 mm	6 mm	Aluminium	No		18.04	-	5.78	-
C Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	12.90	28.49	5.36	7.27
C Shape Building	Berlín	0 mm	6 mm	Aluminium	No		101.09	-	1.69	-
C Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	88.73	12.23	1.60	5.33
C Shape Building	Berlín	40 mm	6 mm	Aluminium	No		69.43	-	1.48	-
C Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	56.51	18.61	1.40	5.41
C Shape Building	Berlín	80 mm	6 mm	Aluminium	No		60.92	-	1.46	-
C Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	47.80	21.54	1.39	4.79
C Shape Building	Berlín	120 mm	6 mm	Aluminium	No		57.20	-	1.45	-
C Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	44.00	23.08	1.39	4.14
C Shape Building	Berlín	160 mm	6 mm	Aluminium	No		55.13	-	1.46	-
C Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	41.84	24.11	1.40	4.11
C Shape Building	Helsinki	0 mm	6 mm	Aluminium	No		152.96	-	0.26	-
C Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	136.84	10.54	0.23	11.54
C Shape Building	Helsinki	40 mm	6 mm	Aluminium	No		108.72	-	0.22	-
C Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	91.94	15.43	0.19	13.64
C Shape Building	Helsinki	80 mm	6 mm	Aluminium	No		96.66	-	0.22	-
C Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	76.61	20.74	0.20	9.09
C Shape Building	Helsinki	120 mm	6 mm	Aluminium	No		91.34	-	0.22	-
C Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	74.23	18.73	0.20	9.09
C Shape Building	Helsinki	160 mm	6 mm	Aluminium	No		88.41	-	0.23	-
C Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	71.22	19.44	0.21	8.70

BUILDING ENVELOPE - INSULATION + WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
C Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	35.44	-	6.97	-
C Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	19.98	43.62	5.78	17.07
C Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	15.73	55.62	5.53	20.66
C Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	13.92	60.72	5.41	22.38
C Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	12.90	63.60	5.36	23.10
C Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	88.73	-	1.60	-
C Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	56.51	36.31	1.40	12.50
C Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	47.80	46.13	1.39	13.13
C Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	44.00	50.41	1.39	13.13
C Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	41.84	52.85	1.40	12.50
C Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	136.84	-	0.23	-
C Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	91.94	32.81	0.19	17.39
C Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	76.61	44.01	0.20	13.04
C Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	74.23	45.75	0.20	13.04
C Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	71.22	47.95	0.21	8.70

SHADING SYSTEMS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
C Shape Building	Madrid	0 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	40.73	-	7.35
C Shape Building	Madrid	0 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	38.21	6.19	6.42	12.65
C Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	35.44	-	6.97
C Shape Building	Madrid	0 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	34.44	2.82	6.05	13.20
C Shape Building	Madrid	40 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	25.30	-	6.19
C Shape Building	Madrid	40 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	22.84	9.72	5.20	15.99
C Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	19.98	-	5.78
C Shape Building	Madrid	40 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	19.03	4.75	4.81	16.78
C Shape Building	Madrid	80 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	20.97	-	5.94
C Shape Building	Madrid	80 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	18.59	11.35	4.93	17.00
C Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	15.73	-	5.53
C Shape Building	Madrid	80 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	14.82	5.79	4.53	18.08
C Shape Building	Madrid	120 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	19.09	-	5.83
C Shape Building	Madrid	120 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	16.75	12.26	4.80	17.67
C Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	13.92	-	5.41
C Shape Building	Madrid	120 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	13.04	6.32	4.40	18.67
C Shape Building	Madrid	160 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	18.04	-	5.78
C Shape Building	Madrid	160 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	15.74	12.75	4.75	17.82
C Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	12.90	-	5.36
C Shape Building	Madrid	160 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	12.04	6.67	4.34	19.03

## 5_Building_Inner_Courtyard
BUILDING ENVELOPE - INSULATION
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Building with Inner Courtyard	Madrid	0 mm	6 mm	Aluminium	No		41.69	-	7.66	-
Building with Inner Courtyard	Madrid	40 mm	6 mm	Aluminium	No		26.28	36.96	6.45	15.80
Building with Inner Courtyard	Madrid	80 mm	6 mm	Aluminium	No		21.94	47.37	6.19	19.19
Building with Inner Courtyard	Madrid	120 mm	6 mm	Aluminium	No		20.06	51.88	6.07	20.76
Building with Inner Courtyard	Madrid	160 mm	6 mm	Aluminium	No		19.03	54.35	6.02	21.41
Building with Inner Courtyard	Berlín	0 mm	6 mm	Aluminium	No		99.63	-	1.69	-
Building with Inner Courtyard	Berlín	40 mm	6 mm	Aluminium	No		68.55	31.20	1.47	13.02
Building with Inner Courtyard	Berlín	80 mm	6 mm	Aluminium	No		60.23	39.55	1.45	14.20
Building with Inner Courtyard	Berlín	120 mm	6 mm	Aluminium	No		56.56	43.23	1.44	14.79
Building with Inner Courtyard	Berlín	160 mm	6 mm	Aluminium	No		54.55	45.25	1.45	14.20
Building with Inner Courtyard	Helsinki	0 mm	6 mm	Aluminium	No		150.49	-	0.23	-
Building with Inner Courtyard	Helsinki	40 mm	6 mm	Aluminium	No		107.08	28.85	0.18	21.74
Building with Inner Courtyard	Helsinki	80 mm	6 mm	Aluminium	No		95.29	36.68	0.19	17.39
Building with Inner Courtyard	Helsinki	120 mm	6 mm	Aluminium	No		90.08	40.14	0.19	17.39
Building with Inner Courtyard	Helsinki	160 mm	6 mm	Aluminium	No		87.22	42.04	0.19	17.39

BUILDING ENVELOPE - WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Building with Inner Courtyard	Madrid	0 mm	6 mm	Aluminium	No		41.69	-	7.66	-
Building with Inner Courtyard	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	36.45	12.57	7.26	5.22
Building with Inner Courtyard	Madrid	40 mm	6 mm	Aluminium	No		26.28	-	6.45	-
Building with Inner Courtyard	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	20.99	20.13	6.03	6.51
Building with Inner Courtyard	Madrid	80 mm	6 mm	Aluminium	No		21.94	-	6.19	-
Building with Inner Courtyard	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	16.72	23.79	5.76	6.95
Building with Inner Courtyard	Madrid	120 mm	6 mm	Aluminium	No		20.06	-	6.07	-
Building with Inner Courtyard	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	14.89	25.77	5.64	7.08
Building with Inner Courtyard	Madrid	160 mm	6 mm	Aluminium	No		19.03	-	6.02	-
Building with Inner Courtyard	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	13.87	27.12	5.58	7.31
Building with Inner Courtyard	Berlín	0 mm	6 mm	Aluminium	No		99.63	-	1.69	-
Building with Inner Courtyard	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	87.62	12.05	1.60	5.33
Building with Inner Courtyard	Berlín	40 mm	6 mm	Aluminium	No		68.55	-	1.47	-
Building with Inner Courtyard	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	56.04	18.25	1.39	5.44
Building with Inner Courtyard	Berlín	80 mm	6 mm	Aluminium	No		60.23	-	1.45	-
Building with Inner Courtyard	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	47.51	21.12	1.38	4.83
Building with Inner Courtyard	Berlín	120 mm	6 mm	Aluminium	No		56.56	-	1.44	-
Building with Inner Courtyard	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	43.77	22.61	1.38	4.17
Building with Inner Courtyard	Berlín	160 mm	6 mm	Aluminium	No		54.55	-	1.45	-
Building with Inner Courtyard	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	41.68	23.59	1.39	4.14
Building with Inner Courtyard	Helsinki	0 mm	6 mm	Aluminium	No		150.49	-	0.23	-
Building with Inner Courtyard	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	134.84	10.40	0.20	13.04
Building with Inner Courtyard	Helsinki	40 mm	6 mm	Aluminium	No		107.08	-	0.18	-
Building with Inner Courtyard	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	90.81	15.19	0.16	11.11
Building with Inner Courtyard	Helsinki	80 mm	6 mm	Aluminium	No		95.29	-	0.19	-
Building with Inner Courtyard	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	78.76	17.35	0.16	15.79
Building with Inner Courtyard	Helsinki	120 mm	6 mm	Aluminium	No		90.08	-	0.19	-
Building with Inner Courtyard	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	73.50	18.41	0.16	15.79
Building with Inner Courtyard	Helsinki	160 mm	6 mm	Aluminium	No		87.22	-	0.19	-
Building with Inner Courtyard	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	70.56	19.10	0.17	10.53

BUILDING ENVELOPE - INSULATION + WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Building with Inner Courtyard	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	36.45	-	7.26	-
Building with Inner Courtyard	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	20.99	42.41	6.03	16.94
Building with Inner Courtyard	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	16.72	54.13	5.76	20.66
Building with Inner Courtyard	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	14.89	59.15	5.64	22.31
Building with Inner Courtyard	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	13.87	61.95	5.58	23.14
Building with Inner Courtyard	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	87.62	-	1.60	-
Building with Inner Courtyard	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	56.04	36.04	1.39	13.13
Building with Inner Courtyard	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	47.51	45.78	1.38	13.75
Building with Inner Courtyard	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	43.77	50.05	1.38	13.75
Building with Inner Courtyard	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	41.68	52.43	1.39	13.13
Building with Inner Courtyard	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	134.84	-	0.20	-
Building with Inner Courtyard	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	90.81	32.65	0.16	20.00
Building with Inner Courtyard	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	78.76	41.59	0.16	20.00
Building with Inner Courtyard	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	73.50	45.49	0.16	20.00
Building with Inner Courtyard	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	70.56	47.67	0.17	15.00

SHADING SYSTEMS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Building with Inner Courtyard	Madrid	0 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	41.69	-	7.66
Building with Inner Courtyard	Madrid	0 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	39.24	5.88	6.55	14.49
Building with Inner Courtyard	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	36.45	-	7.26
Building with Inner Courtyard	Madrid	0 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	35.47	2.69	6.17	15.01
Building with Inner Courtyard	Madrid	40 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	26.28	-	6.45
Building with Inner Courtyard	Madrid	40 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	23.89	9.09	5.28	18.14
Building with Inner Courtyard	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	20.99	-	6.03
Building with Inner Courtyard	Madrid	40 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	20.05	4.48	4.89	18.91
Building with Inner Courtyard	Madrid	80 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	21.94	-	6.19
Building with Inner Courtyard	Madrid	80 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	19.61	10.62	4.99	19.39
Building with Inner Courtyard	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	16.72	-	5.76
Building with Inner Courtyard	Madrid	80 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	15.82	5.38	4.59	20.31
Building with Inner Courtyard	Madrid	120 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	20.06	-	6.07
Building with Inner Courtyard	Madrid	120 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	17.77	11.42	4.86	19.93
Building with Inner Courtyard	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	14.89	-	5.64
Building with Inner Courtyard	Madrid	120 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	14.02	5.84	4.45	21.10
Building with Inner Courtyard	Madrid	160 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	19.03	-	6.02
Building with Inner Courtyard	Madrid	160 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	16.76	11.93	4.80	20.27
Building with Inner Courtyard	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	13.87	-	5.58
Building with Inner Courtyard	Madrid	160 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	13.02	6.13	4.39	21.33

## 6_EDEA
BUILDING ENVELOPE - INSULATION
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Social housing – EDEA	Madrid	0 mm	6 mm	Aluminium	No		106.19	-	8.49	-
Social housing – EDEA	Madrid	40 mm	6 mm	Aluminium	No		52.86	50.22	7.21	15.08
Social housing – EDEA	Madrid	80 mm	6 mm	Aluminium	No		39.58	62.73	7.01	17.43
Social housing – EDEA	Madrid	120 mm	6 mm	Aluminium	No		33.35	68.59	6.98	17.79
Social housing – EDEA	Madrid	160 mm	6 mm	Aluminium	No		29.72	72.01	7.02	17.31
Social housing – EDEA	Berlín	0 mm	6 mm	Aluminium	No		228.81	-	1.17	-
Social housing – EDEA	Berlín	40 mm	6 mm	Aluminium	No		131.83	42.38	0.97	17.09
Social housing – EDEA	Berlín	80 mm	6 mm	Aluminium	No		108.63	52.52	1.01	13.68
Social housing – EDEA	Berlín	120 mm	6 mm	Aluminium	No		98.09	57.13	1.06	9.40
Social housing – EDEA	Berlín	160 mm	6 mm	Aluminium	No		92.15	59.73	1.12	4.27
Social housing – EDEA	Helsinki	0 mm	6 mm	Aluminium	No		334.51	-	0.09	-
Social housing – EDEA	Helsinki	40 mm	6 mm	Aluminium	No		199.40	40.39	0.11	-22.22
Social housing – EDEA	Helsinki	80 mm	6 mm	Aluminium	No		166.64	50.18	0.14	-55.56
Social housing – EDEA	Helsinki	120 mm	6 mm	Aluminium	No		151.80	54.62	0.17	-88.89
Social housing – EDEA	Helsinki	160 mm	6 mm	Aluminium	No		143.47	57.11	0.19	-111.11

BUILDING ENVELOPE - WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Social housing – EDEA	Madrid	0 mm	6 mm	Aluminium	No		106.19	-	8.49	-
Social housing – EDEA	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	100.95	4.93	8.12	4.36
Social housing – EDEA	Madrid	40 mm	6 mm	Aluminium	No		52.86	-	7.21	-
Social housing – EDEA	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	46.84	11.39	67.99	-843.00
Social housing – EDEA	Madrid	80 mm	6 mm	Aluminium	No		39.58	-	7.01	-
Social housing – EDEA	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	33.29	15.89	6.57	6.28
Social housing – EDEA	Madrid	120 mm	6 mm	Aluminium	No		33.35	-	6.98	-
Social housing – EDEA	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	26.92	19.28	6.53	6.45
Social housing – EDEA	Madrid	160 mm	6 mm	Aluminium	No		29.72	-	7.02	-
Social housing – EDEA	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	23.18	22.01	6.56	6.55
Social housing – EDEA	Berlín	0 mm	6 mm	Aluminium	No		228.81	-	1.17	-
Social housing – EDEA	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	216.15	5.53	1.09	6.84
Social housing – EDEA	Berlín	40 mm	6 mm	Aluminium	No		131.83	-	0.97	-
Social housing – EDEA	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	117.04	11.22	0.89	8.25
Social housing – EDEA	Berlín	80 mm	6 mm	Aluminium	No		108.63	-	1.01	-
Social housing – EDEA	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	92.91	14.47	0.95	5.94
Social housing – EDEA	Berlín	120 mm	6 mm	Aluminium	No		98.09	-	1.06	-
Social housing – EDEA	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	81.70	16.71	1.02	3.77
Social housing – EDEA	Berlín	160 mm	6 mm	Aluminium	No		92.15	-	1.12	-
Social housing – EDEA	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	75.25	18.34	1.10	1.79
Social housing – EDEA	Helsinki	0 mm	6 mm	Aluminium	No		334.51	-	0.09	-
Social housing – EDEA	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	317.83	4.99	0.08	11.11
Social housing – EDEA	Helsinki	40 mm	6 mm	Aluminium	No		199.40	-	0.11	-
Social housing – EDEA	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	180.10	9.68	0.09	18.18
Social housing – EDEA	Helsinki	80 mm	6 mm	Aluminium	No		166.64	-	0.14	-
Social housing – EDEA	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	146.20	12.27	0.13	7.14
Social housing – EDEA	Helsinki	120 mm	6 mm	Aluminium	No		151.80	-	0.17	-
Social housing – EDEA	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	130.58	13.98	0.16	5.88
Social housing – EDEA	Helsinki	160 mm	6 mm	Aluminium	No		143.47	-	0.19	-
Social housing – EDEA	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	121.57	15.26	0.18	5.26

BUILDING ENVELOPE - INSULATION + WINDOWS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Social housing – EDEA	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	100.95	-	8.12	-
Social housing – EDEA	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	46.84	53.60	67.99	-737.32
Social housing – EDEA	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	33.29	67.02	6.57	19.09
Social housing – EDEA	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	26.92	73.33	6.53	19.58
Social housing – EDEA	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	23.18	77.04	6.56	19.21
Social housing – EDEA	Berlín	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	216.15	-	1.09	-
Social housing – EDEA	Berlín	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	117.04	45.85	0.89	18.35
Social housing – EDEA	Berlín	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	92.91	57.02	0.95	12.84
Social housing – EDEA	Berlín	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	81.70	62.20	1.02	6.42
Social housing – EDEA	Berlín	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	75.25	65.19	1.10	-0.92
Social housing – EDEA	Helsinki	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	317.83	-	0.08	-
Social housing – EDEA	Helsinki	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	180.10	43.33	0.09	-12.50
Social housing – EDEA	Helsinki	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	146.20	54.00	0.13	-62.50
Social housing – EDEA	Helsinki	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	130.58	58.92	0.16	-100.00
Social housing – EDEA	Helsinki	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	121.57	61.75	0.18	-125.00

SHADING SYSTEMS
Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Glazing +Framing Types	Heating Consumption (kWh/m2·year)	% Heating Energy Savings	Cooling Consumption (kWh/m2·year)	% Cooling Energy Savings
Social housing – EDEA	Madrid	0 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	106.19	-	8.49
Social housing – EDEA	Madrid	0 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	103.06	2.95	7.69	9.42
Social housing – EDEA	Madrid	0 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	100.95	-	8.12
Social housing – EDEA	Madrid	0 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	99.65	1.29	7.33	9.73
Social housing – EDEA	Madrid	40 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	52.86	-	7.21
Social housing – EDEA	Madrid	40 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	49.61	6.15	6.21	13.87
Social housing – EDEA	Madrid	40 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	46.84	-	67.99
Social housing – EDEA	Madrid	40 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	45.50	2.86	5.77	91.51
Social housing – EDEA	Madrid	80 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	39.58	-	7.01
Social housing – EDEA	Madrid	80 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	36.30	8.29	5.91	15.69
Social housing – EDEA	Madrid	80 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	33.29	-	6.57
Social housing – EDEA	Madrid	80 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	31.96	4.00	5.46	16.89
Social housing – EDEA	Madrid	120 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	33.35	-	6.98
Social housing – EDEA	Madrid	120 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	30.05	9.90	5.82	16.62
Social housing – EDEA	Madrid	120 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	26.92	-	6.53
Social housing – EDEA	Madrid	120 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	25.60	4.90	5.35	18.07
Social housing – EDEA	Madrid	160 mm	6 mm	Aluminium	No	Simple Glazing + Metal Frame	29.72	-	7.02
Social housing – EDEA	Madrid	160 mm	6 mm	Aluminium	Yes	Simple Glazing + Metal Frame	26.40	11.17	5.80	17.38
Social housing – EDEA	Madrid	160 mm	4+16+6 mm	PVC	No	Double Glazing + PVC Frame	23.18	-	6.56
Social housing – EDEA	Madrid	160 mm	4+16+6 mm	PVC	Yes	Double Glazing + PVC Frame	21.88	5.61	5.33	18.75

## Gobal_results
Id	Building Typology	Location	Insulation Thickness	Glazing	Frame	Shading	Heating Consumption (kWh/m2·year)	Cooling Consumption (kWh/m2·year)
1	Rectangle Shape Building	Madrid	0 mm	6 mm	Aluminium	No	50.97	7.55
2	Rectangle Shape Building	Madrid	0 mm	6 mm	Aluminium	Yes	48.43	6.85
3	Rectangle Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	45.86	7.18
4	Rectangle Shape Building	Madrid	0 mm	4+16+6 mm	PVC	Yes	44.81	6.52
5	Rectangle Shape Building	Madrid	40 mm	6 mm	Aluminium	No	28.72	5.80
6	Rectangle Shape Building	Madrid	40 mm	6 mm	Aluminium	Yes	26.21	5.04
7	Rectangle Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	23.49	5.38
8	Rectangle Shape Building	Madrid	40 mm	4+16+6 mm	PVC	Yes	22.47	4.67
9	Rectangle Shape Building	Madrid	80 mm	6 mm	Aluminium	No	22.52	5.44
10	Rectangle Shape Building	Madrid	80 mm	6 mm	Aluminium	Yes	20.06	4.66
11	Rectangle Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	17.32	5.01
12	Rectangle Shape Building	Madrid	80 mm	4+16+6 mm	PVC	Yes	16.34	4.27
13	Rectangle Shape Building	Madrid	120 mm	6 mm	Aluminium	No	19.82	5.31
14	Rectangle Shape Building	Madrid	120 mm	6 mm	Aluminium	Yes	17.41	4.51
15	Rectangle Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	14.66	4.87
16	Rectangle Shape Building	Madrid	120 mm	4+16+6 mm	PVC	Yes	13.73	4.10
17	Rectangle Shape Building	Madrid	160 mm	6 mm	Aluminium	No	18.30	5.25
18	Rectangle Shape Building	Madrid	160 mm	6 mm	Aluminium	Yes	15.93	4.44
19	Rectangle Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	13.18	4.80
20	Rectangle Shape Building	Madrid	160 mm	4+16+6 mm	PVC	Yes	12.26	4.03
21	Rectangle Shape Building	Berlín	0 mm	6 mm	Aluminium	No	126.32	1.73
22	Rectangle Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	114.29	1.63
23	Rectangle Shape Building	Berlín	40 mm	6 mm	Aluminium	No	79.82	1.34
24	Rectangle Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	66.99	1.24
25	Rectangle Shape Building	Berlín	80 mm	6 mm	Aluminium	No	67.41	1.30
26	Rectangle Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	54.25	1.20
27	Rectangle Shape Building	Berlín	120 mm	6 mm	Aluminium	No	62.05	1.29
28	Rectangle Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	48.69	1.21
29	Rectangle Shape Building	Berlín	160 mm	6 mm	Aluminium	No	59.11	1.30
30	Rectangle Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	45.58	1.22
31	Rectangle Shape Building	Helsinki	0 mm	6 mm	Aluminium	No	188.86	0.27
32	Rectangle Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	173.20	0.24
33	Rectangle Shape Building	Helsinki	40 mm	6 mm	Aluminium	No	123.99	0.17
34	Rectangle Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	107.38	0.14
35	Rectangle Shape Building	Helsinki	80 mm	6 mm	Aluminium	No	106.38	0.17
36	Rectangle Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	89.34	0.14
37	Rectangle Shape Building	Helsinki	120 mm	6 mm	Aluminium	No	98.78	0.18
38	Rectangle Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	81.50	0.15
39	Rectangle Shape Building	Helsinki	160 mm	6 mm	Aluminium	No	94.56	0.18
40	Rectangle Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	77.08	0.16
41	Tower Shape Building	Madrid	0 mm	6 mm	Aluminium	No	57.38	9.24
42	Tower Shape Building	Madrid	0 mm	6 mm	Aluminium	Yes	54.67	7.73
43	Tower Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	51.88	8.74
44	Tower Shape Building	Madrid	0 mm	4+16+6 mm	PVC	Yes	50.79	7.29
45	Tower Shape Building	Madrid	40 mm	6 mm	Aluminium	No	34.89	7.80
46	Tower Shape Building	Madrid	40 mm	6 mm	Aluminium	Yes	32.18	6.16
47	Tower Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	29.19	7.24
48	Tower Shape Building	Madrid	40 mm	4+16+6 mm	PVC	Yes	28.12	5.67
49	Tower Shape Building	Madrid	80 mm	6 mm	Aluminium	No	28.08	7.51
50	Tower Shape Building	Madrid	80 mm	6 mm	Aluminium	Yes	25.40	5.78
51	Tower Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	22.33	6.92
52	Tower Shape Building	Madrid	80 mm	4+16+6 mm	PVC	Yes	21.28	5.28
53	Tower Shape Building	Madrid	120 mm	6 mm	Aluminium	No	25.16	7.41
54	Tower Shape Building	Madrid	120 mm	6 mm	Aluminium	Yes	22.49	5.64
55	Tower Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	19.39	6.81
56	Tower Shape Building	Madrid	120 mm	4+16+6 mm	PVC	Yes	18.36	5.13
57	Tower Shape Building	Madrid	160 mm	6 mm	Aluminium	No	23.52	7.30
58	Tower Shape Building	Madrid	160 mm	6 mm	Aluminium	Yes	20.90	5.52
59	Tower Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	17.82	6.69
60	Tower Shape Building	Madrid	160 mm	4+16+6 mm	PVC	Yes	16.82	5.00
61	Tower Shape Building	Berlín	0 mm	6 mm	Aluminium	No	134.08	2.10
62	Tower Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	120.89	1.97
63	Tower Shape Building	Berlín	40 mm	6 mm	Aluminium	No	90.35	1.81
64	Tower Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	76.30	1.68
65	Tower Shape Building	Berlín	80 mm	6 mm	Aluminium	No	77.70	1.79
66	Tower Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	63.22	1.66
67	Tower Shape Building	Berlín	120 mm	6 mm	Aluminium	No	72.37	1.79
68	Tower Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	57.62	1.68
69	Tower Shape Building	Berlín	160 mm	6 mm	Aluminium	No	69.24	1.77
70	Tower Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	54.47	1.67
71	Tower Shape Building	Helsinki	0 mm	6 mm	Aluminium	No	199.94	0.34
72	Tower Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	182.66	0.30
73	Tower Shape Building	Helsinki	40 mm	6 mm	Aluminium	No	138.87	0.29
74	Tower Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	120.56	0.24
75	Tower Shape Building	Helsinki	80 mm	6 mm	Aluminium	No	121.04	0.29
76	Tower Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	102.19	0.25
77	Tower Shape Building	Helsinki	120 mm	6 mm	Aluminium	No	113.52	0.30
78	Tower Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	94.33	0.26
79	Tower Shape Building	Helsinki	160 mm	6 mm	Aluminium	No	109.07	0.30
80	Tower Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	89.87	0.26
81	L Shape Building	Madrid	0 mm	6 mm	Aluminium	No	46.72	9.25
82	L Shape Building	Madrid	0 mm	6 mm	Aluminium	Yes	43.94	7.72
83	L Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	40.88	8.77
84	L Shape Building	Madrid	0 mm	4+16+6 mm	PVC	Yes	39.73	7.27
85	L Shape Building	Madrid	40 mm	6 mm	Aluminium	No	28.82	7.76
86	L Shape Building	Madrid	40 mm	6 mm	Aluminium	Yes	26.10	6.14
87	L Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	22.93	7.24
88	L Shape Building	Madrid	40 mm	4+16+6 mm	PVC	Yes	21.83	5.65
89	L Shape Building	Madrid	80 mm	6 mm	Aluminium	No	23.83	7.45
90	L Shape Building	Madrid	80 mm	6 mm	Aluminium	Yes	21.19	5.78
91	L Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	18.01	6.90
92	L Shape Building	Madrid	80 mm	4+16+6 mm	PVC	Yes	16.96	5.28
93	L Shape Building	Madrid	120 mm	6 mm	Aluminium	No	21.65	7.30
94	L Shape Building	Madrid	120 mm	6 mm	Aluminium	Yes	19.06	5.62
95	L Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	15.91	6.76
96	L Shape Building	Madrid	120 mm	4+16+6 mm	PVC	Yes	14.90	5.11
97	L Shape Building	Madrid	160 mm	6 mm	Aluminium	No	20.43	7.26
98	L Shape Building	Madrid	160 mm	6 mm	Aluminium	Yes	17.86	5.56
99	L Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	14.72	6.71
100	L Shape Building	Madrid	160 mm	4+16+6 mm	PVC	Yes	13.73	5.05
101	L Shape Building	Berlín	0 mm	6 mm	Aluminium	No	112.96	2.17
102	L Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	99.48	2.05
103	L Shape Building	Berlín	40 mm	6 mm	Aluminium	No	76.47	1.91
104	L Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	62.38	1.81
105	L Shape Building	Berlín	80 mm	6 mm	Aluminium	No	66.73	1.89
106	L Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	52.44	1.80
107	L Shape Building	Berlín	120 mm	6 mm	Aluminium	No	62.45	1.88
108	L Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	48.08	1.80
109	L Shape Building	Berlín	160 mm	6 mm	Aluminium	No	60.09	1.89
110	L Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	45.61	1.82
111	L Shape Building	Helsinki	0 mm	6 mm	Aluminium	No	169.56	0.39
112	L Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	152.05	0.35
113	L Shape Building	Helsinki	40 mm	6 mm	Aluminium	No	118.72	0.33
114	L Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	100.45	0.30
115	L Shape Building	Helsinki	80 mm	6 mm	Aluminium	No	104.94	0.34
116	L Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	86.42	0.31
117	L Shape Building	Helsinki	120 mm	6 mm	Aluminium	No	98.84	0.34
118	L Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	80.26	0.31
119	L Shape Building	Helsinki	160 mm	6 mm	Aluminium	No	95.48	0.35
120	L Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	76.82	0.33
121	C Shape Building	Madrid	0 mm	6 mm	Aluminium	No	40.73	7.35
122	C Shape Building	Madrid	0 mm	6 mm	Aluminium	Yes	38.21	6.42
123	C Shape Building	Madrid	0 mm	4+16+6 mm	PVC	No	35.44	6.97
124	C Shape Building	Madrid	0 mm	4+16+6 mm	PVC	Yes	34.44	6.05
125	C Shape Building	Madrid	40 mm	6 mm	Aluminium	No	25.30	6.19
126	C Shape Building	Madrid	40 mm	6 mm	Aluminium	Yes	22.84	5.20
127	C Shape Building	Madrid	40 mm	4+16+6 mm	PVC	No	19.98	5.78
128	C Shape Building	Madrid	40 mm	4+16+6 mm	PVC	Yes	19.03	4.81
129	C Shape Building	Madrid	80 mm	6 mm	Aluminium	No	20.97	5.94
130	C Shape Building	Madrid	80 mm	6 mm	Aluminium	Yes	18.59	4.93
131	C Shape Building	Madrid	80 mm	4+16+6 mm	PVC	No	15.73	5.53
132	C Shape Building	Madrid	80 mm	4+16+6 mm	PVC	Yes	14.82	4.53
133	C Shape Building	Madrid	120 mm	6 mm	Aluminium	No	19.09	5.83
134	C Shape Building	Madrid	120 mm	6 mm	Aluminium	Yes	16.75	4.80
135	C Shape Building	Madrid	120 mm	4+16+6 mm	PVC	No	13.92	5.41
136	C Shape Building	Madrid	120 mm	4+16+6 mm	PVC	Yes	13.04	4.40
137	C Shape Building	Madrid	160 mm	6 mm	Aluminium	No	18.04	5.78
138	C Shape Building	Madrid	160 mm	6 mm	Aluminium	Yes	15.74	4.75
139	C Shape Building	Madrid	160 mm	4+16+6 mm	PVC	No	12.90	5.36
140	C Shape Building	Madrid	160 mm	4+16+6 mm	PVC	Yes	12.04	4.34
141	C Shape Building	Berlín	0 mm	6 mm	Aluminium	No	101.09	1.69
142	C Shape Building	Berlín	0 mm	4+16+6 mm	PVC	No	88.73	1.60
143	C Shape Building	Berlín	40 mm	6 mm	Aluminium	No	69.43	1.48
144	C Shape Building	Berlín	40 mm	4+16+6 mm	PVC	No	56.51	1.40
145	C Shape Building	Berlín	80 mm	6 mm	Aluminium	No	60.92	1.46
146	C Shape Building	Berlín	80 mm	4+16+6 mm	PVC	No	47.80	1.39
147	C Shape Building	Berlín	120 mm	6 mm	Aluminium	No	57.20	1.45
148	C Shape Building	Berlín	120 mm	4+16+6 mm	PVC	No	44.00	1.39
149	C Shape Building	Berlín	160 mm	6 mm	Aluminium	No	55.13	1.46
150	C Shape Building	Berlín	160 mm	4+16+6 mm	PVC	No	41.84	1.40
151	C Shape Building	Helsinki	0 mm	6 mm	Aluminium	No	152.96	0.26
152	C Shape Building	Helsinki	0 mm	4+16+6 mm	PVC	No	136.84	0.23
153	C Shape Building	Helsinki	40 mm	6 mm	Aluminium	No	108.72	0.22
154	C Shape Building	Helsinki	40 mm	4+16+6 mm	PVC	No	91.94	0.19
155	C Shape Building	Helsinki	80 mm	6 mm	Aluminium	No	96.66	0.22
156	C Shape Building	Helsinki	80 mm	4+16+6 mm	PVC	No	76.61	0.20
157	C Shape Building	Helsinki	120 mm	6 mm	Aluminium	No	91.34	0.22
158	C Shape Building	Helsinki	120 mm	4+16+6 mm	PVC	No	74.23	0.20
159	C Shape Building	Helsinki	160 mm	6 mm	Aluminium	No	88.41	0.23
160	C Shape Building	Helsinki	160 mm	4+16+6 mm	PVC	No	71.22	0.21
161	Building with Inner Courtyard	Madrid	0 mm	6 mm	Aluminium	No	41.69	7.66
162	Building with Inner Courtyard	Madrid	0 mm	6 mm	Aluminium	Yes	39.24	6.55
163	Building with Inner Courtyard	Madrid	0 mm	4+16+6 mm	PVC	No	36.45	7.26
164	Building with Inner Courtyard	Madrid	0 mm	4+16+6 mm	PVC	Yes	35.47	6.17
165	Building with Inner Courtyard	Madrid	40 mm	6 mm	Aluminium	No	26.28	6.45
166	Building with Inner Courtyard	Madrid	40 mm	6 mm	Aluminium	Yes	23.89	5.28
167	Building with Inner Courtyard	Madrid	40 mm	4+16+6 mm	PVC	No	20.99	6.03
168	Building with Inner Courtyard	Madrid	40 mm	4+16+6 mm	PVC	Yes	20.05	4.89
169	Building with Inner Courtyard	Madrid	80 mm	6 mm	Aluminium	No	21.94	6.19
170	Building with Inner Courtyard	Madrid	80 mm	6 mm	Aluminium	Yes	19.61	4.99
171	Building with Inner Courtyard	Madrid	80 mm	4+16+6 mm	PVC	No	16.72	5.76
172	Building with Inner Courtyard	Madrid	80 mm	4+16+6 mm	PVC	Yes	15.82	4.59
173	Building with Inner Courtyard	Madrid	120 mm	6 mm	Aluminium	No	20.06	6.07
174	Building with Inner Courtyard	Madrid	120 mm	6 mm	Aluminium	Yes	17.77	4.86
175	Building with Inner Courtyard	Madrid	120 mm	4+16+6 mm	PVC	No	14.89	5.64
176	Building with Inner Courtyard	Madrid	120 mm	4+16+6 mm	PVC	Yes	14.02	4.45
177	Building with Inner Courtyard	Madrid	160 mm	6 mm	Aluminium	No	19.03	6.02
178	Building with Inner Courtyard	Madrid	160 mm	6 mm	Aluminium	Yes	16.76	4.80
179	Building with Inner Courtyard	Madrid	160 mm	4+16+6 mm	PVC	No	13.87	5.58
180	Building with Inner Courtyard	Madrid	160 mm	4+16+6 mm	PVC	Yes	13.02	4.39
181	Building with Inner Courtyard	Berlín	0 mm	6 mm	Aluminium	No	99.63	1.69
182	Building with Inner Courtyard	Berlín	0 mm	4+16+6 mm	PVC	No	87.62	1.60
183	Building with Inner Courtyard	Berlín	40 mm	6 mm	Aluminium	No	68.55	1.47
184	Building with Inner Courtyard	Berlín	40 mm	4+16+6 mm	PVC	No	56.04	1.39
185	Building with Inner Courtyard	Berlín	80 mm	6 mm	Aluminium	No	60.23	1.45
186	Building with Inner Courtyard	Berlín	80 mm	4+16+6 mm	PVC	No	47.51	1.38
187	Building with Inner Courtyard	Berlín	120 mm	6 mm	Aluminium	No	56.56	1.44
188	Building with Inner Courtyard	Berlín	120 mm	4+16+6 mm	PVC	No	43.77	1.38
189	Building with Inner Courtyard	Berlín	160 mm	6 mm	Aluminium	No	54.55	1.45
190	Building with Inner Courtyard	Berlín	160 mm	4+16+6 mm	PVC	No	41.68	1.39
191	Building with Inner Courtyard	Helsinki	0 mm	6 mm	Aluminium	No	150.49	0.23
192	Building with Inner Courtyard	Helsinki	0 mm	4+16+6 mm	PVC	No	134.84	0.20
193	Building with Inner Courtyard	Helsinki	40 mm	6 mm	Aluminium	No	107.08	0.18
194	Building with Inner Courtyard	Helsinki	40 mm	4+16+6 mm	PVC	No	90.81	0.16
195	Building with Inner Courtyard	Helsinki	80 mm	6 mm	Aluminium	No	95.29	0.19
196	Building with Inner Courtyard	Helsinki	80 mm	4+16+6 mm	PVC	No	78.76	0.16
197	Building with Inner Courtyard	Helsinki	120 mm	6 mm	Aluminium	No	90.08	0.19
198	Building with Inner Courtyard	Helsinki	120 mm	4+16+6 mm	PVC	No	73.50	0.16
199	Building with Inner Courtyard	Helsinki	160 mm	6 mm	Aluminium	No	87.22	0.19
200	Building with Inner Courtyard	Helsinki	160 mm	4+16+6 mm	PVC	No	70.56	0.17
201	Social housing – EDEA	Madrid	0 mm	6 mm	Aluminium	No	106.19	8.49
202	Social housing – EDEA	Madrid	0 mm	6 mm	Aluminium	Yes	103.06	7.69
203	Social housing – EDEA	Madrid	0 mm	4+16+6 mm	PVC	No	100.95	8.12
204	Social housing – EDEA	Madrid	0 mm	4+16+6 mm	PVC	Yes	99.65	7.33
205	Social housing – EDEA	Madrid	40 mm	6 mm	Aluminium	No	52.86	7.21
206	Social housing – EDEA	Madrid	40 mm	6 mm	Aluminium	Yes	49.61	6.21
207	Social housing – EDEA	Madrid	40 mm	4+16+6 mm	PVC	No	46.84	67.99
208	Social housing – EDEA	Madrid	40 mm	4+16+6 mm	PVC	Yes	45.50	5.77
209	Social housing – EDEA	Madrid	80 mm	6 mm	Aluminium	No	39.58	7.01
210	Social housing – EDEA	Madrid	80 mm	6 mm	Aluminium	Yes	36.30	5.91
211	Social housing – EDEA	Madrid	80 mm	4+16+6 mm	PVC	No	33.29	6.57
212	Social housing – EDEA	Madrid	80 mm	4+16+6 mm	PVC	Yes	31.96	5.46
213	Social housing – EDEA	Madrid	120 mm	6 mm	Aluminium	No	33.35	6.98
214	Social housing – EDEA	Madrid	120 mm	6 mm	Aluminium	Yes	30.05	5.82
215	Social housing – EDEA	Madrid	120 mm	4+16+6 mm	PVC	No	26.92	6.53
216	Social housing – EDEA	Madrid	120 mm	4+16+6 mm	PVC	Yes	25.60	5.35
217	Social housing – EDEA	Madrid	160 mm	6 mm	Aluminium	No	29.72	7.02
218	Social housing – EDEA	Madrid	160 mm	6 mm	Aluminium	Yes	26.40	5.80
219	Social housing – EDEA	Madrid	160 mm	4+16+6 mm	PVC	No	23.18	6.56
220	Social housing – EDEA	Madrid	160 mm	4+16+6 mm	PVC	Yes	21.88	5.33
221	Social housing – EDEA	Berlín	0 mm	6 mm	Aluminium	No	228.81	1.17
222	Social housing – EDEA	Berlín	0 mm	4+16+6 mm	PVC	No	216.15	1.09
223	Social housing – EDEA	Berlín	40 mm	6 mm	Aluminium	No	131.83	0.97
224	Social housing – EDEA	Berlín	40 mm	4+16+6 mm	PVC	No	117.04	0.89
225	Social housing – EDEA	Berlín	80 mm	6 mm	Aluminium	No	108.63	1.01
226	Social housing – EDEA	Berlín	80 mm	4+16+6 mm	PVC	No	92.91	0.95
227	Social housing – EDEA	Berlín	120 mm	6 mm	Aluminium	No	98.09	1.06
228	Social housing – EDEA	Berlín	120 mm	4+16+6 mm	PVC	No	81.70	1.02
229	Social housing – EDEA	Berlín	160 mm	6 mm	Aluminium	No	92.15	1.12
230	Social housing – EDEA	Berlín	160 mm	4+16+6 mm	PVC	No	75.25	1.10
231	Social housing – EDEA	Helsinki	0 mm	6 mm	Aluminium	No	334.51	0.09
232	Social housing – EDEA	Helsinki	0 mm	4+16+6 mm	PVC	No	317.83	0.08
233	Social housing – EDEA	Helsinki	40 mm	6 mm	Aluminium	No	199.40	0.11
234	Social housing – EDEA	Helsinki	40 mm	4+16+6 mm	PVC	No	180.10	0.09
235	Social housing – EDEA	Helsinki	80 mm	6 mm	Aluminium	No	166.64	0.14
236	Social housing – EDEA	Helsinki	80 mm	4+16+6 mm	PVC	No	146.20	0.13
237	Social housing – EDEA	Helsinki	120 mm	6 mm	Aluminium	No	151.80	0.17
238	Social housing – EDEA	Helsinki	120 mm	4+16+6 mm	PVC	No	130.58	0.16
239	Social housing – EDEA	Helsinki	160 mm	6 mm	Aluminium	No	143.47	0.19
240	Social housing – EDEA	Helsinki	160 mm	4+16+6 mm	PVC	No	121.57	0.18