## Strobl2023A-DS0001
Dataset (DS) | DS0001
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | ACOS{Ub’ATub-mRuby} #2
Genotype | single insertion (mCe/mCe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 2.47 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | 3A
Supplementary Figures | 4
Supplementary Videos | 1
Comment | -
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 1 (CH0001)
CH0001 Excitation | 561 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 607/70 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Planes (PL) | 150 (PL0001-PL0150)
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 645.0 µm

## Strobl2023A-DS0002
Dataset (DS) | DS0002
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | ACOS{Ub’ATub-mRuby} #2
Genotype | single insertion (mCe/mCe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 2.65 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | -
Supplementary Figures | -
Supplementary Videos | 1
Comment | -
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 1 (CH0001)
CH0001 Excitation | 561 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 607/70 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Planes (PL) | 150 (PL0001-PL0150)
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1100 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 709.5 µm

## Strobl2023A-DS0003
Dataset (DS) | DS0003
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | ACOS{Ub’ATub-mRuby} #2
Genotype | single insertion (mCe/mCe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 2.51 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | -
Supplementary Figures | -
Supplementary Videos | 1
Comment | chorion fragments remained on top of the vitelline membrane
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 1 (CH0001)
CH0001 Excitation | 561 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 607/70 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Planes (PL) | 150 (PL0001-PL0150)
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 645.0 µm

## Strobl2023A-DS0004
Dataset (DS) | DS0004
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | ACOS{Ub’ATub-mRuby} #2
Genotype | single insertion (mVe/mVe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 2.56 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | -
Supplementary Figures | 4
Supplementary Videos | 1
Comment | chorion fragments remained on top of the vitelline membrane
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 1 (CH0001)
CH0001 Excitation | 561 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 607/70 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Planes (PL) | 150 (PL0001-PL0150)
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 645.0 µm

## Strobl2023A-DS0005
Dataset (DS) | DS0005
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | ACOS{Ub’ATub-mRuby} #2
Genotype | single insertion (mVe/mVe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 2.46 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | -
Supplementary Figures | -
Supplementary Videos | 1
Comment | chorion fragments remained on top of the vitelline membrane
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 1 (CH0001)
CH0001 Excitation | 561 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 607/70 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Planes (PL) | 150 (PL0001-PL0150)
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 645.0 µm

## Strobl2023A-DS0006
Dataset (DS) | DS0006
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | ACOS{Ub’ATub-mRuby} #2
Genotype | single insertion (mVe/mVe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 2.62 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | -
Supplementary Figures | -
Supplementary Videos | 1
Comment | chorion fragments remained on top of the vitelline membrane
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 1 (CH0001)
CH0001 Excitation | 561 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 607/70 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Planes (PL) | 150 (PL0001-PL0150)
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1100 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 709.5 µm

## Strobl2023A-DS0007
Dataset (DS) | DS0007
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | Gruul #4
Genotype | single insertions (mO/mO; mCe/mCe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 4.70 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | 7A, 7B, 7C
Supplementary Figures | -
Supplementary Videos | 2
Comment | chorion fragments remained on top of the vitelline membrane
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 2 (CH0001)
CH0001 Excitation | 488 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 525/50 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~850 nm / ~3,200 nm
CH0002 Excitation | 561 nm
CH0002 Laser Power | 135 µW (close to the embryo)
CH0002 Exposure Time | 100 ms
CH0002 Emission Filter | 607/70 single-band bandpass filter
CH0002 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 645.0 µm

## Strobl2023A-DS0008
Dataset (DS) | DS0008
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | Gruul #4
Genotype | single insertions (mC/mC; mCe/mCe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 4.90 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | 7C
Supplementary Figures | -
Supplementary Videos | 2
Comment | chorion fragments remained on top of the vitelline membrane
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 2 (CH0001)
CH0001 Excitation | 488 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 525/50 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~850 nm / ~3,200 nm
CH0002 Excitation | 561 nm
CH0002 Laser Power | 135 µW (close to the embryo)
CH0002 Exposure Time | 100 ms
CH0002 Emission Filter | 607/70 single-band bandpass filter
CH0002 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 645.0 µm

## Strobl2023A-DS0009
Dataset (DS) | DS0009
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | Gruul #4
Genotype | single insertions (mO/mO; mVe/mVe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 4.86 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | 7C
Supplementary Figures | -
Supplementary Videos | 2
Comment | chorion fragments remained on top of the vitelline membrane
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 2 (CH0001)
CH0001 Excitation | 488 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 525/50 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~850 nm / ~3,200 nm
CH0002 Excitation | 561 nm
CH0002 Laser Power | 135 µW (close to the embryo)
CH0002 Exposure Time | 100 ms
CH0002 Emission Filter | 607/70 single-band bandpass filter
CH0002 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 645.0 µm

## Strobl2023A-DS0010
Dataset (DS) | DS0010
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | Gruul #4
Genotype | single insertions (mC/mC; mVe/mVe) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-36VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)) to lay embryos
Pre-Imaging Incubation | incubation for ~14:00 h at 20°C, embryo mounting for ~01:00 h at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM) (Keller and Stelzer 2010, Cold Spring Harbor Protocols (doi.org/10.1101/pdb.top78))
Laser Lines | 561 nm / 25 mW DPSSL (Cobolt Jive CW 561, Omicron Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 607/70 single-band bandpass filter (FF01-607/70-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~30 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole) (Strobl et al. 2017, Journal of Visualized Experiments (doi.org/10.3791/55629))
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially)
Views | unknown
Retrieval | developed to healthy adult, produced fertile progeny
Dataset Size | 4.86 Gigabyte
Dataset Access | doi.org/10.5281/zenodo.7564542
Figures | 7C
Supplementary Figures | -
Supplementary Videos | 2
Comment | chorion fragments remained on top of the vitelline membrane
Time Points (TP) | 41 (TP0001-TP0041)
TP Interval | 00:06 h
Total Time ((TP-1)×TP Interval) | 04:00 h
Directions (DR) | 1 (DR0001)
DR Orientations | 0°
Channels (CH) | 2 (CH0001)
CH0001 Excitation | 488 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 100 ms
CH0001 Emission Filter | 525/50 single-band bandpass filter
CH0001 Theoretical Lateral / Axial Resolution | ~850 nm / ~3,200 nm
CH0002 Excitation | 561 nm
CH0002 Laser Power | 135 µW (close to the embryo)
CH0002 Exposure Time | 100 ms
CH0002 Emission Filter | 607/70 single-band bandpass filter
CH0002 Theoretical Lateral / Axial Resolution | ~1,000 nm / ~3,700 nm
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD×Y Spacing) | 645.0 µm