First the native-space segmented images are created in SPM12 from the MPRAGE 0.75mm_UNI_Images as a nifti file.

This is the job in the SPM12 batch editor:

We are interested in C1 (GM), C2 (WM), and C3 (CSF) files. The output for C1 is shown below (this picture was made with Check Reg, selecting the nifti file, right click, Add Overlay, Add Coloured Image, Local, and selecting the C1. file:

Next, the tissue fractions are calculated by running the script “tissue_frac_loop “ which uses the function “tissuefractions.m”. The filename of a spectroscopy file needs to be provided– it does not matter which DICOM file is provided from the spectroscopy, here the LW_SUM, Series_052 is used:

The filename for the C1 image is provided (the code assumes that there will also be a C2 (WM) and C3 (CSF) image in the same place):

After running the “tissuefractions.m” function, this is the output:

These are the volume fractions of GM, WM and CSF in the voxel. These values can be used according to Harris et al. (2015) for GABA, and Provencher (2021) for the rest of the metabolites to perform partial volume corrections to make sure the results are not due to differences in brain structure.